Diana V. Pastrana
Protocols
John Schiller's Lab

Rvsd 5/23/24

Immunoflourescent Staining of cells for microscopy

· In a dry 24-well dish lay down cover-slips  

For poorly adherent cells use laminin coated coverslips (BD Biocoat Poly-D-Lysine/Laminin coating 12mm diam BD# 354087; also available through fisher)

For regularly adherent cells Use #1 coverslips (Fisherbrand cat #12-545-80 12mm circle 1 thickness = 0.13-0.17mm The 1.5 are 0.16-0.19mm, the ideal optics are for 0.17mm, the cat # for 1.5 is #12-545-81, use 1, not 1.5)  (No need to acid treat) Keep the coverslips in a beaker with 100% EtOH and right before using them separate them in the tissue culture hood on a clean paper towel and allow them to dry 
· Seed cells at about 1 x 105 cells per well.  And allow them to attach overnight.

· Alternative protocol For cells that will be transfected day 1) seed 24 well (see protocol for transfection). Day 2) transfect, wait 6 hours, trypsin treat and split into 4 wells for microscopy.  Day 3) fix and Stain.   Alternatively Day 1) transfect the same day as seed, wait 6 hours and split.  Day 2) fix and stain.  Have a mock transfected control as the lipofectamine makes the cells auto-fluoresce more.  

· Remove medium by aspiration and wash 1x in PBS

· Fix by adding 300 µl of 1-2% paraformaldehyde/PBS for 10-20 min RmT(.   (Buy 16% paraformaldehyde solution from Electron Microscope Sciences Cat #15710 keep at Rm T°, dilute to 4% in PBS and keep at             –20(C.  Dilute in PBS right before using).  10 min with 2% is what was recommended QFM class

· An alternative fix is EtOH with glycine/PBS (For 250ml of solution mix: 175ml EtOH; 18.75ml of 200mM Glycine/PBS; and 56.25 ml of PBS.  Keep solution at             -20(C).  For this fix, do 5 min or more at                -20(C.  Glycine quenches free aldehyde groups reducing autofluorescence

· Wash in PBS/200 mM Glycine, 0.02% Sodium azide (Make the solution and filter sterilize, it has good shelf-life) 3x over 5-10 min.

· Once cells are fixed if wanted they can be kept in plain PBS in the fridge for a long time.  

· For the first round try without blocking, otherwise use normal serum from the same species as the 2ary antibody.  So for example if you are going to use goat anti-mouse FITC conjugated use Normal Goat Serum, preferably purified. Use at around 6 mg/ml in PBS/0.1% Brij 58 (see below). 

· For any step that involves an antibody spin the stock vials first to remove any precipitates, then make dilutions.  

· Alternative Blocking buffer from the Microscopy class is 1xPBS, 2% BSA (fraction V).  To block add 5% Normal goat serum in blocking buffer for 30 minutes.  The antibodies are diluted in the blocking buffer and also the washes. 

· If using more than one color, match your secondary species, all donkey or all goat

· Add either no primary antibody, or diluted 1ary Ab; usually start at around 1-5µg/ml diluted in PBS/0.1% Brij 58 (Make a 1% solution of Brij in PBS by warming up to 37(C, then use this to make the solution, also filter sterilize the solution and keep both stock brij and solution for about 2 months).  Place at RmT° for 1 hour or 4(C overnight (less background). 

· Wash 3x in PBS/0.1% Brij 58 over 5-10 min.

· Add PBS/0.1%Brij only or 2ary Antibody, prefer Molecular Probes Alexa Fluor 488 (Green) or 594 (red) (Start at 1:1K), if not possible use Jackson’s FITC or if not possible TRITC at 1:200 in PBS/0.1% Brij 58.  Place at 4(C for 1 hour in the DARK!!! Or rotate covered from light 1hr room temperature

· Wash 3x in over 5-10 min.

· Stain with DAPI (Invitrogen #62248) Diluted 1:5K in DPBS/1%NGS for 5 min RmT˚

· Rinse once with PBS

· With a syringe needle shaped as a hook dislodge the laminin coverslip from the bottom of the wells and leave it “standing” on its side.  

· With serrated curved tweezers grab the cover slip, lightly blot it on paper towels (allow only the narrow part of the cover to touch the towel).   
· Get rid of excess liquid by blotting edge of slides or air dry 15 min

· Date and number a glass microscope slide.  Place one small dot of Prolong gold mounting medium without DAPI (Invitrogen #P36930). Place the cover cell-side down on top of the drop of Prolong gold.  Repeat for all covers.  

· Alternatively you can use a mounting medium that has DAPI stain (for nuclei) in it.  It is also good to prevent bleaching. Prolong Gold Antifade with DAPI (Molecular Probes Cat# 36931), recently the staining with this has been uneven.
· With the tweezers lightly press the top of the coverslips to eliminate residual prolong gold; only press vertically, no lateral movements.

· Using folded paper towels lightly blot all the coverslips with one vertical motion.

· Place flat inside a dark drawer and let it harden overnight. If you are in a hurry to view them, this can be sped up by placing at 37(C

· After they harden store in the dark at 4(C or at -20(C.  Until ready to view by microscopy.   

